Project steps

1. Sizing
2. Economical dispatch

1. Sizing

In sizing we will find an optimum configuration of the hybrid system for a given demand. Hybrid system considered in this research will have the following units

Model
Generation System
NuScale type 77 MWe SMR

Wind turbine
Wind profile given hourly

Solar PV
Hourly solar energy

Hydrogen System
Hydrogen Plant
- kg H2 production per kWh
- Hydrogen Storage Capacity

Demand Side
hourly electricity consumption, hydrogen consumption

Market
Hourly price of electricity, hydrogen price

Objective: Minimizing cost while providing the given demand

arg min LCOE

Constraints:
Max Number of SMR units (min,max): 1, 8
Number of wind turbines (min, max): 1, 30
Solar Energy Capacity MW (min, max): 1, 50